Calibration Certificate

(This Certificate valid for 12 Months)

Model:	Pocket Temp Pro
 SN: HLP-PTP005457
Read 24.2°C @ 24.1 °C

Checked against NATA calibrated unit AZ8801
 S/N - 9000782Calibration Report: 41598-4


The above unit meets the stated specifications as set out in the Manufacturers specification sheet included with the unit & meets the Australian Food Standards requirements.


Signed	L.Adams			Date Issued: 3/9/20