

Calibration Certificate

(This Certificate valid for 12 Months)

Model: Pocket Temp Pro  
 SN: HLP-PTP005457  
Read 24.2°C @ 24.1 °C  
  
Checked against NATA calibrated unit AZ8801  
 S/N - 9000782Calibration Report: 41598-4  
  
  
The above unit meets the stated specifications as set out in the Manufacturers specification sheet included with the unit & meets the Australian Food Standards requirements.  
  
  
Signed L.Adams Date Issued: 3/9/20